HANDS-ON APPROACH TO ANALYTICAL  CHEMISTRY FOR VOCATIONAL SCHOOLS (LLP-LDV-TOI-2008-SI-15)

Name of Student: 					School:

To Determine the Concentration of an Unknown Dilution of Blue Food Colouring by Use of a Spectrophotometer and a Calibration Curve.

Or  What is the Concentration of Food Colouring?

The Problem

A confectionary manufacturer has lost the recipe for the concentration of the blue food colouring used in a relaunch of an old-fashioned line of sweets. They have the original blue food colouring referred to as the ‘Stock Solution’  and they have a sample of the blue food colour at the ‘Unknown’ concentration that was used.

Your task is to calculate the exact concentration of the ‘Unknown Sample’.

Practical skills you will need to use (these may be new to you):

- Use of a burette,

- Use of a Volumetric flask,

- Use of a colorimeter (also called a spectrophotometer),

- Use of a calibration curve.

You will be shown how to use this equipment during the practical session

Safety

- You will need to correctly wear a laboratory coat, safety glasses and disposable gloves. Working with food colourings can be messy.

- No eating, drinking chewing or running in the laboratory.

- If you spill chemical mop it up with lab roll

- If you break any glassware call the demonstrator or teacher-they will clear it up safely.

Results Table

| Volume of Stock Solution /cm3 | Volume of water /cm3 | Solution Concentration / % | Spectrophotometer (Colorimeter) Reading |
| --- | --- | --- | --- |
| No dilution needed |  | 100 |  |
| 40 | 10 | 80 |  |
| 30 | 20 | 60 |  |
| 20 | 30 | 40 |  |
| 10 | 40 | 20 |  |
|  |  | Unknown |  |

The Concentration of the ‘Unknown Solution’ is _________%

Evaluation

Where do you think the errors are in this investigation?